
INSTALLATION AND SAFETY INSTRUCTIONS
[image: image2.jpg]=L > 1L 1

L]

[T
| |

o< =

& N,

b o

S 3
—K~P

Tg\[e'e] NoO
™ [o6)
N, A
) ()
o o0
© <

|/ 0. ePcs
N: 6PCS

420 [16"

M: 6PCS




FOR YOUR SAFETY WARNING
BE SURE THE ELECTRICITY TO THE WIRES YOU ARE WORKING ON IS SHUT OFF; EITHER THE FUSE IS REMOVED OR THE CIRCUIT BREAKER IS SHUT OFF. GENERAL You don’t need special tools to install this fixture. Be sure to follow the steps in the order given. Under no circumstances should a fixture be hung on house electrical wires, nor should a swag type fixture be installed on a ceiling which contains a radiant type heating system. Read instructions carefully. If you are unclear as to how to proceed, consult a qualified electrician. NOTE: Proper wiring is essential for the safe operation of this fixture.
GENERAL
You don’t need special tools to install this fixture. Be sure to follow the steps in the order given. Under no circumstances should a fixture be hung on house electrical wires, nor should a swag type fixture be installed on a ceiling which contains a radiant type heating system. Read instructions carefully. If you are unclear as to how to proceed, consult a qualified electrician. NOTE: Proper wiring is essential for the safe operation of this fixture.
FIXTURE ASSEMBLY
Carefully remove the fixture from the carton and check that all parts are included as shown in figure. Be careful not to misplace any of the screws or parts, which are needed to install this fixture.

STEP 1: Estimate the height you want to hang your fixture ,If you want to reduce the overall length of the fixture,please remove the chain links. 

STEP 2:Fasten the tube(G) to the fixture,  then secure machine screws with the Allan Key(H).Assemble one end of chain to fixture loop(F) by opening quick link.

INSTALLATION
IMPORTANT: Do not attach fixture directly to outlet box.

STEP 1:. Secure safety wire (A) with screw (B).
STEP 2:Secure strap (C) to outlet box with machine screws.

GROUNDING INSTRUCTIONS
STEP 1: Insert the green grounding screw into the hole with two raised dimples on the mounting bar. Wrap the ground wire from the fixture (if supplied) around the green grounding screw, then connect it to ground wire from the outlet box (if not fixed on the outlet box) using a wire connector (not supplied). If ground wire from the fixture is not supplied, wrap the ground wire (if not fixed on the outlet box) from the outlet box around the green grounding screw and tighten it.

NEVER CONNECT GROUND WIRE TO BLACK OR WHITE POWER SUPPLY WIRES.
STEP 2: Take note of the color of the wire(s) on your fixture.

Identify which group your fixture wire(s) falls into and connect the wires according to the directions below:
	GROUP  A:  Connect  to  Black

House Wire
	GROUP  B:  Connect  to  White

House Wire

	BLACK
	WHITE

	*PARALLEL  WIRE  (round  &

smooth)
	*PARALLEL  WIRE  (square  &

ridged)

	WHITE    OR    GREY    WITH TRACER
	WHITE  OR  GREY  WITHOUT TRACER

	BROWN  GOLD  OR  BLACK WITHOUT TRACER
	BROWN,   GOLD   OR   BLACK WITH TRACER


*NOTE: When parallel wire (SPT-I & SPT-2) is used, the tracer
wire is square shaped or ridged and the less tracer wire is round
in shape or smooth (seen best when viewed from wire end.)
STEP 3: Take your fixture wire(s) from group A and place evenly
against the black wire from the outlet box. Do NOT
twist wires together before using wire connectors.
STEP 4: Fit a wire connector (not supplied) over the wires and
screw the connector clockwise until you feel firmness.
STEP 5: Try gently to pull the connector off the wires. If you can

pull the connector off, carefully re-do steps 3 and 4 as above, and check again for a firm connection.
STEP 6: Connect the fixture wire from group B to the white wire

from the outlet box in the same manner. Make sure no 

bare wires can be seen outside wire connectors.
FINAL ASSEMBLY
STEP1:After wires are connected,turn screw collar loop(E) onto nipple,then place canopy(D) up against ceiling and lock by screw collar loop ring.

STEP 2:Apply crystal (K~P) in alphabetical order with parts(I&J).

STEP 3:Install light bulbs. (Bulbs not included.  Please do not exceed the maximum capacity recommended on the socket.)
CLEANING
To clean, wipe fixture with a soft cloth. Clean glass with a mild soap. Do not use abrasive materials such as scouring pads or powders, steel wool or abrasive paper.
ORDERING PARTS
Keep this sheet for future reference, and in case you need to order replacement parts. Be sure to use exact wording from illustration when ordering parts.
Line art shown may not exactly match the fixture enclosed.
However, the installations do apply to this fixture.
ITEM NO: 4006-9PN
[image: image1.jpg]i

i

284 107

A=4PCS ?

A=18PCS

A=B PCS
Bi=6 PCS

A=4 PCS
Bi=4 PCS o

B=19PCS

304 1















